LLC system latency measurement configuration diagram
1
Test signal into AI channel 1.
2
Connections to ACQ424. 500 Hz wave from sig gen, AO424 CH01 and AO420 CH01.
Host system with AFHBA404.
3
BNC PANEL
2
Local
AI+AO
ACQ424
TERM05
HDMI
ACQ424
ACQ424
ACQ424
SFP
AO424
DIO432
HOST
SFP A
SFP B
3
Remote
AO
HDMI
Signal
Generator
SFP
AO420
1
Oscilloscope
.
BNC PANEL